## Input
Index | Ind | Name | Description | MV | CV | IV | Type
1 | D | 3303TDI035.PV | CV3-DIF TEMP | FALSE | TRUE | TRUE | Basic
2 | D | 3303TICA035.PV | BOTTEMP-MV3-PV OR CV5-BOT TEM | FALSE | TRUE | TRUE | Basic
3 | D | 3303TI031A.PV | CV2-TOPTEMP | FALSE | TRUE | TRUE | Basic
4 | D | 3304TDIA003.PV | CV2-DIFTEMP | FALSE | TRUE | TRUE | Basic
5 | D | 3304TI006A.PV | CV1-TOPTEMP | FALSE | TRUE | TRUE | Basic
6 | D | 3304TIRCA008.PV | 3304TIRCA008.PV | FALSE | TRUE | TRUE | Basic
7 | D | 3304TIC006A.PV | 3304TIC006A.PV | FALSE | FALSE | TRUE | Basic
8 | D | 3304TIR047.PV | 3304TIR047.PV | FALSE | TRUE | TRUE | Basic
9 | D | 3304TIRC043.PV | 3304TIRC043.PV | FALSE | TRUE | TRUE | Basic
10 | D | 3304TICA036.PV | DRAWTEMP-MV2-PV | FALSE | FALSE | TRUE | Basic
11 | D | 3304TI034A.PV | CV1-TOPTEMP | FALSE | TRUE | TRUE | Basic
12 | I | 3303TICA035.SV | 3303TICA035.SV | TRUE | FALSE | FALSE | Basic
13 | I | 3303FICA042.SV | REFLUX-MV2-SV | TRUE | FALSE | FALSE | Basic
14 | I | 3304E03BOSP.MV | 3304E03BOSP.MV | TRUE | FALSE | FALSE | Basic
15 | I | 3304FICA016.SV | REFLUX-MV1-SV | TRUE | FALSE | FALSE | Basic
16 | I | 3304TIRCA008.SV | 3304TIRCA008.SV | TRUE | FALSE | FALSE | Basic
17 | I | 3304E03DOSP.MV | 3304E03DOSP.MV | TRUE | FALSE | FALSE | Basic
18 | I | 3304TIC006A.SV | 3304TIC006A.SV | TRUE | FALSE | FALSE | Basic
19 | I | 3304TIRC043.SV | 3304TIRC043.SV | TRUE | FALSE | FALSE | Basic
20 | I | 3304FIQC060.SV | FLOWSIDEDRAW-MV2.1-SV | TRUE | FALSE | FALSE | Basic
21 | I | 3304FICA048.SV | REFLUX-MV1-SV | TRUE | FALSE | FALSE | Basic
22 | D | 3306QI045D.PV | G3 C2 IN SGS | FALSE | TRUE | TRUE | QMI
23 | D | 3300QT-4CH4.PV | G3 C1 IN C2 | FALSE | TRUE | TRUE | QMI
24 | D | 3303FICA036.SV | 3303FICA036.SV | FALSE | TRUE | TRUE | Basic
25 | D | 3300QT-4C3H8.PV | G3 C3 IN C2 | FALSE | TRUE | TRUE | QMI
26 | D | 3300QT-5AC2H6.PV | G3 C2 IN C3 | FALSE | TRUE | TRUE | QMI
27 | D | 3304FICA001.SV | DEE Hot oil flow | FALSE | TRUE | TRUE | Basic
28 | D | GSP3RQEDB.NX03 | G3 C4 IN C3 | FALSE | TRUE | TRUE | QMI
29 | D | GSP3RQEDB.NX02 | G3 C5 IN LPG | FALSE | TRUE | TRUE | QMI
30 | D | 3300QT-5BC3H8.PV | G3 C3 IN LPG | FALSE | TRUE | TRUE | QMI
31 | D | 3304FICA039.SV | DEP Hot oil flow | FALSE | TRUE | TRUE | Basic
32 | D | 3304TIRCA008.MV |  | FALSE | FALSE | TRUE | Basic
33 | D | 3304TIRC043.MV |  | FALSE | FALSE | TRUE | Basic
34 | D | 3304TIC006A.MV |  | FALSE | FALSE | TRUE | Basic
35 | D | 3303TICA035.MV |  | FALSE | FALSE | TRUE | Basic

## Output
Index | Name | Description | CV | IV | Type
1 | 3306QI045D.PV | G3 C2 IN SGS | TRUE | TRUE | QMI
2 | 3303TDI035.PV | CV3-DIF TEMP | TRUE | TRUE | Basic
3 | 3303TICA035.PV | BOTTEMP-MV3-PV OR CV5-BOT TEM | TRUE | TRUE | Basic
4 | 3303FICA036.SV | 3303FICA036.SV | TRUE | TRUE | Basic
5 | 3300QT-4CH4.PV | G3 C1 IN C2 | TRUE | TRUE | QMI
6 | 3303LICA047.MV | 3303LICA047.MV | TRUE | FALSE | Basic
7 | 3303TI031A.PV | CV2-TOPTEMP | TRUE | TRUE | Basic
8 | 3304QI030A.PV | 3304QI030A.PV | TRUE | FALSE | QMI
9 | 3304FI027.PV | Vapour flow to DEE from redlux 2 | TRUE | FALSE | Basic
10 | 3304TDIA003.PV | CV2-DIFTEMP | TRUE | TRUE | Basic
11 | 3304TI006A.PV | CV1-TOPTEMP | TRUE | TRUE | Basic
12 | 3304TDIA006.PV | 3304TDIA006.PV | TRUE | FALSE | Basic
13 | 3300QT-4C3H8.PV | G3 C3 IN C2 | TRUE | TRUE | QMI
14 | 3304FICA001.SV | DEE Hot oil flow | TRUE | TRUE | Basic
15 | 3304TIRCA008.PV | 3304TIRCA008.PV | TRUE | TRUE | Basic
16 | 3300QT-5AC2H6.PV | G3 C2 IN C3 | TRUE | TRUE | QMI
17 | 3304TIC006A.PV | 3304TIC006A.PV | FALSE | TRUE | Basic
18 | 3300QT-5BC3H8.PV | G3 C3 IN LPG | TRUE | TRUE | QMI
19 | 3304TIR047.PV | 3304TIR047.PV | TRUE | TRUE | Basic
20 | 3304PDIA040.PV | DEP TOP Pressure diff | TRUE | FALSE | Basic
21 | 3300GCIU.PV | G3 RVP | TRUE | FALSE | QMI
22 | 3304TIRC043.PV | 3304TIRC043.PV | TRUE | TRUE | Basic
23 | 3304FICA039.SV | DEP Hot oil flow | TRUE | TRUE | Basic
24 | GSP3RQEDB.NX02 | G3 C5 IN LPG | TRUE | TRUE | QMI
25 | GSP3RQEDB.NX03 | G3 C4 IN C3 | TRUE | TRUE | QMI
26 | 3304TICA036.PV | DRAWTEMP-MV2-PV | FALSE | TRUE | Basic
27 | 3304TI034A.PV | CV1-TOPTEMP | TRUE | TRUE | Basic
28 | MINC2INSGS | GSP3 - C2 Elaborated CV 06 | TRUE | FALSE | Calculated
29 | MAXC1INC2 | GSP3 - C2 Elaborated CV 02 | TRUE | FALSE | Calculated
30 | MINFICA036 | GSP3 - C2 Elaborated CV 08 | TRUE | FALSE | Calculated
31 | MAXC3INC2 | GSP3 - DEE Elaborated CV 05 | TRUE | FALSE | Calculated
32 | MINC2INC3 | GSP3 - DEE Elaborated CV 06 | TRUE | FALSE | Calculated
33 | MINC3INC2 | GSP3 - DEE Elaborated CV 05 | TRUE | FALSE | Calculated
34 | MAXC2INC3 | GSP3 - DEE Elaborated CV 06 | TRUE | FALSE | Calculated
35 | MINFICA001 | GSP3 - DEE Elaborated CV 11 | TRUE | FALSE | Calculated
36 | MAXC4INC3 | GSP3 - DEP Elaborated CV 03 | TRUE | FALSE | Calculated
37 | MAXC5INLPG | GSP3 - DEP Elaborated CV 04 | TRUE | FALSE | Calculated
38 | MINC3INLPG | GSP3 - DEP Elaborated CV 05 | TRUE | FALSE | Calculated
39 | MINC4INC3 | GSP3 - DEP Elaborated CV 03 | TRUE | FALSE | Calculated
40 | MAXC3INLPG | GSP3 - DEP Elaborated CV 05 | TRUE | FALSE | Calculated
41 | MAXLPG | GSP3 - DEP Elaborated CV 02 | TRUE | FALSE | Calculated
42 | MINLPG | GSP3 - DEP Elaborated CV 02 | TRUE | FALSE | Calculated
43 | MINFICA039 | GSP3 - DEP Elaborated CV 11 | TRUE | FALSE | Calculated
44 | 3303TICA035.MV |  | FALSE | TRUE | Basic
45 | 3304TIRCA008.MV |  | FALSE | TRUE | Basic
46 | 3304TIRC043.MV |  | FALSE | TRUE | Basic
47 | 3304TIC006A.MV |  | FALSE | TRUE | Basic

## Datalink
Source | Reference | Source DataType | Destination | Reference
DCS | 3303TICA035.MODE | String | Application | Variables/3303TICA035.MODE/MeasuredValueRaw
DCS | NG3A1CV07.DT02 | Boolean | GSP3 | Variables/3303FICA036.SV/CV/IsRemoved
DCS | 3303TICA035.MV | Double | Application | Variables/3303TICA035.MV/MeasuredValueRaw
DCS | 3303TICA035.SV | Double | Application | Variables/3303TICA035.SV/MeasuredValueRaw
DCS | 3303FICA042.MODE | String | Application | Variables/3303FICA042.MODE/MeasuredValueRaw
DCS | NG3A2CV07.DT02 | Boolean | GSP3 | Variables/3304FICA001.SV/CV/IsRemoved
DCS | 3303FICA042.PV | Double | Application | Variables/3303FICA042.PV/MeasuredValueRaw
DCS | 3303FICA042.MV | Double | Application | Variables/3303FICA042.MV/MeasuredValueRaw
DCS | 3303FICA042.SV | Double | Application | Variables/3303FICA042.SV/MeasuredValueRaw
DCS | 3304FICA016.MODE | String | Application | Variables/3304FICA016.MODE/MeasuredValueRaw
DCS | NG3A3CV09.DT02 | Boolean | GSP3 | Variables/3304FICA039.SV/CV/IsRemoved
DCS | 3304FICA016.PV | Double | Application | Variables/3304FICA016.PV/MeasuredValueRaw
DCS | 3304FICA016.MV | Double | Application | Variables/3304FICA016.MV/MeasuredValueRaw
DCS | 3304FICA016.SV | Double | Application | Variables/3304FICA016.SV/MeasuredValueRaw
DCS | 3304TIRCA008.MODE | String | Application | Variables/3304TIRCA008.MODE/MeasuredValueRaw
DCS | NGSP3MCRQ.SW | Integer | GSP3 | ModeRequest
DCS | 3304TIRCA008.MV | Double | Application | Variables/3304TIRCA008.MV/MeasuredValueRaw
DCS | 3304TIRCA008.SV | Double | Application | Variables/3304TIRCA008.SV/MeasuredValueRaw
DCS | 3304E03BOSP.MODE | String | Application | Variables/3304E03BOSP.MODE/MeasuredValueRaw
GSP3 | IsAlive | Double | DCS | NGSP3MCWDT.PV
DCS | 3304E03BOSP.MV | Double | Application | Variables/3304E03BOSP.MV/MeasuredValueRaw
DCS | 3304E03DOSP.MODE | String | Application | Variables/3304E03DOSP.MODE/MeasuredValueRaw
GSP3 | ModeActual | Integer | DCS | NGSP3MCSTS.SW
DCS | 3304E03DOSP.MV | Double | Application | Variables/3304E03DOSP.MV/MeasuredValueRaw
DCS | 3304FICA048.MODE | String | Application | Variables/3304FICA048.MODE/MeasuredValueRaw
DCS | NDEPSCRQ.SW | Integer | GSP3 | VariableSets/DEP/ModeRequest
DCS | 3304FICA048.PV | Double | Application | Variables/3304FICA048.PV/MeasuredValueRaw
DCS | 3304FICA048.MV | Double | Application | Variables/3304FICA048.MV/MeasuredValueRaw
DCS | 3304FICA048.SV | Double | Application | Variables/3304FICA048.SV/MeasuredValueRaw
DCS | 3304TIRC043.MODE | String | Application | Variables/3304TIRC043.MODE/MeasuredValueRaw
GSP3 | VariableSets/C2/ModeActual | Integer | DCS | NC2SCSTS.SW
DCS | 3304TIRC043.MV | Double | Application | Variables/3304TIRC043.MV/MeasuredValueRaw
DCS | 3304TIRC043.SV | Double | Application | Variables/3304TIRC043.SV/MeasuredValueRaw
DCS | 3304FIQC060.MODE | String | Application | Variables/3304FIQC060.MODE/MeasuredValueRaw
GSP3 | VariableSets/DEE/ModeActual | Integer | DCS | NDEESCSTS.SW
DCS | 3304FIQC060.PV | Double | Application | Variables/3304FIQC060.PV/MeasuredValueRaw
DCS | 3304FIQC060.MV | Double | Application | Variables/3304FIQC060.MV/MeasuredValueRaw
DCS | 3304FIQC060.SV | Double | Application | Variables/3304FIQC060.SV/MeasuredValueRaw
DCS | 3304TIC006A.MODE | String | Application | Variables/3304TIC006A.MODE/MeasuredValueRaw
DCS | NDEESCRQ.SW | Integer | GSP3 | VariableSets/DEE/ModeRequest
DCS | 3304TIC006A.MV | Double | Application | Variables/3304TIC006A.MV/MeasuredValueRaw
DCS | 3304TIC006A.SV | Double | Application | Variables/3304TIC006A.SV/MeasuredValueRaw
DCS | NG3A1MV02.DT01 | Integer | GSP3 | Variables/3303TICA035.SV/MV/RemoteLocalStatus
GSP3 | Variables/3303TICA035.SV/MV/Output | Double | DCS | 3303TICA035.RSV
DCS | NG3A1MV02.NX04 | Boolean | GSP3 | Variables/3303TICA035.SV/MV/IsFeedForwardEnabled
DCS | NG3A1MV02.DT11 | Double | GSP3 | Variables/3303TICA035.SV/MV/HiLimit
DCS | NG3A1MV02.NX11 | Double | GSP3 | Variables/3303TICA035.SV/MV/LoLimit
DCS | NG3A1MV02.DT06 | Double | GSP3 | Variables/3303TICA035.SV/MV/EntryHiLimit
DCS | NG3A1MV02.NX06 | Double | GSP3 | Variables/3303TICA035.SV/MV/EntryLoLimit
DCS | NG3A1MV02.NX02 | Double | GSP3 | Variables/3303TICA035.SV/MV/MaxMoveSizeUp
DCS | NG3A1MV02.NX02 | Double | GSP3 | Variables/3303TICA035.SV/MV/MaxMoveSizeDown
DCS | NG3A1MV03.DT01 | Integer | GSP3 | Variables/3303FICA042.SV/MV/RemoteLocalStatus
GSP3 | Variables/3303FICA042.SV/MV/Output | Double | DCS | 3303FICA042.RSV
DCS | NG3A1MV03.NX04 | Boolean | GSP3 | Variables/3303FICA042.SV/MV/IsFeedForwardEnabled
DCS | NG3A1MV03.DT11 | Double | GSP3 | Variables/3303FICA042.SV/MV/HiLimit
DCS | NG3A1MV03.NX11 | Double | GSP3 | Variables/3303FICA042.SV/MV/LoLimit
DCS | NG3A1MV03.DT06 | Double | GSP3 | Variables/3303FICA042.SV/MV/EntryHiLimit
DCS | NG3A1MV03.NX06 | Double | GSP3 | Variables/3303FICA042.SV/MV/EntryLoLimit
DCS | NG3A1MV03.NX02 | Double | GSP3 | Variables/3303FICA042.SV/MV/MaxMoveSizeUp
DCS | NG3A1MV03.NX02 | Double | GSP3 | Variables/3303FICA042.SV/MV/MaxMoveSizeDown
DCS | NG3A2MV01.DT01 | Integer | GSP3 | Variables/3304FICA016.SV/MV/RemoteLocalStatus
GSP3 | Variables/3304FICA016.SV/MV/Output | Double | DCS | 3304FICA016.RSV
DCS | NG3A2MV01.NX04 | Boolean | GSP3 | Variables/3304FICA016.SV/MV/IsFeedForwardEnabled
DCS | NG3A2MV01.DT11 | Double | GSP3 | Variables/3304FICA016.SV/MV/HiLimit
DCS | NG3A2MV01.NX11 | Double | GSP3 | Variables/3304FICA016.SV/MV/LoLimit
DCS | NG3A2MV01.DT06 | Double | GSP3 | Variables/3304FICA016.SV/MV/EntryHiLimit
DCS | NG3A2MV01.NX06 | Double | GSP3 | Variables/3304FICA016.SV/MV/EntryLoLimit
DCS | NG3A2MV01.NX02 | Double | GSP3 | Variables/3304FICA016.SV/MV/MaxMoveSizeUp
DCS | NG3A2MV01.NX02 | Double | GSP3 | Variables/3304FICA016.SV/MV/MaxMoveSizeDown
DCS | NG3A2MV02.DT01 | Integer | GSP3 | Variables/3304TIRCA008.SV/MV/RemoteLocalStatus
GSP3 | Variables/3304TIRCA008.SV/MV/Output | Double | DCS | 3304TIRCA008.RSV
DCS | NG3A2MV02.NX04 | Boolean | GSP3 | Variables/3304TIRCA008.SV/MV/IsFeedForwardEnabled
DCS | NG3A2MV02.DT11 | Double | GSP3 | Variables/3304TIRCA008.SV/MV/HiLimit
DCS | NG3A2MV02.NX11 | Double | GSP3 | Variables/3304TIRCA008.SV/MV/LoLimit
DCS | NG3A2MV02.DT06 | Double | GSP3 | Variables/3304TIRCA008.SV/MV/EntryHiLimit
DCS | NG3A2MV02.NX06 | Double | GSP3 | Variables/3304TIRCA008.SV/MV/EntryLoLimit
DCS | NG3A2MV02.NX02 | Double | GSP3 | Variables/3304TIRCA008.SV/MV/MaxMoveSizeUp
DCS | NG3A2MV02.NX02 | Double | GSP3 | Variables/3304TIRCA008.SV/MV/MaxMoveSizeDown
DCS | NG3A2MV03.DT01 | Integer | GSP3 | Variables/3304E03BOSP.MV/MV/RemoteLocalStatus
GSP3 | Variables/3304E03BOSP.MV/MV/Output | Double | DCS | NG3A2MV03.NX16
DCS | NG3A2MV03.NX04 | Boolean | GSP3 | Variables/3304E03BOSP.MV/MV/IsFeedForwardEnabled
DCS | NG3A2MV03.DT11 | Double | GSP3 | Variables/3304E03BOSP.MV/MV/HiLimit
DCS | NG3A2MV03.NX11 | Double | GSP3 | Variables/3304E03BOSP.MV/MV/LoLimit
DCS | NG3A2MV03.DT06 | Double | GSP3 | Variables/3304E03BOSP.MV/MV/EntryHiLimit
DCS | NG3A2MV03.NX06 | Double | GSP3 | Variables/3304E03BOSP.MV/MV/EntryLoLimit
DCS | NG3A2MV03.NX02 | Double | GSP3 | Variables/3304E03BOSP.MV/MV/MaxMoveSizeUp
DCS | NG3A2MV03.NX02 | Double | GSP3 | Variables/3304E03BOSP.MV/MV/MaxMoveSizeDown
DCS | NG3A2MV04.DT01 | Integer | GSP3 | Variables/3304E03DOSP.MV/MV/RemoteLocalStatus
GSP3 | Variables/3304E03DOSP.MV/MV/Output | Double | DCS | NG3A2MV04.NX16
DCS | NG3A2MV04.NX04 | Boolean | GSP3 | Variables/3304E03DOSP.MV/MV/IsFeedForwardEnabled
DCS | NG3A2MV04.DT11 | Double | GSP3 | Variables/3304E03DOSP.MV/MV/HiLimit
DCS | NG3A2MV04.NX11 | Double | GSP3 | Variables/3304E03DOSP.MV/MV/LoLimit
DCS | NG3A2MV04.DT06 | Double | GSP3 | Variables/3304E03DOSP.MV/MV/EntryHiLimit
DCS | NG3A2MV04.NX06 | Double | GSP3 | Variables/3304E03DOSP.MV/MV/EntryLoLimit
DCS | NG3A2MV04.NX02 | Double | GSP3 | Variables/3304E03DOSP.MV/MV/MaxMoveSizeUp
DCS | NG3A2MV04.NX02 | Double | GSP3 | Variables/3304E03DOSP.MV/MV/MaxMoveSizeDown
DCS | NG3A3MV01.DT01 | Integer | GSP3 | Variables/3304FICA048.SV/MV/RemoteLocalStatus
GSP3 | Variables/3304FICA048.SV/MV/Output | Double | DCS | 3304FICA048.RSV
DCS | NG3A3MV01.NX04 | Boolean | GSP3 | Variables/3304FICA048.SV/MV/IsFeedForwardEnabled
DCS | NG3A3MV01.DT11 | Double | GSP3 | Variables/3304FICA048.SV/MV/HiLimit
DCS | NG3A3MV01.NX11 | Double | GSP3 | Variables/3304FICA048.SV/MV/LoLimit
DCS | NG3A3MV01.DT06 | Double | GSP3 | Variables/3304FICA048.SV/MV/EntryHiLimit
DCS | NG3A3MV01.NX06 | Double | GSP3 | Variables/3304FICA048.SV/MV/EntryLoLimit
DCS | NG3A3MV01.NX02 | Double | GSP3 | Variables/3304FICA048.SV/MV/MaxMoveSizeUp
DCS | NG3A3MV01.NX02 | Double | GSP3 | Variables/3304FICA048.SV/MV/MaxMoveSizeDown
DCS | NG3A3MV02.DT01 | Integer | GSP3 | Variables/3304TIRC043.SV/MV/RemoteLocalStatus
GSP3 | Variables/3304TIRC043.SV/MV/Output | Double | DCS | 3304TIRC043.RSV
DCS | NG3A3MV02.NX04 | Boolean | GSP3 | Variables/3304TIRC043.SV/MV/IsFeedForwardEnabled
DCS | NG3A3MV02.DT11 | Double | GSP3 | Variables/3304TIRC043.SV/MV/HiLimit
DCS | NG3A3MV02.NX11 | Double | GSP3 | Variables/3304TIRC043.SV/MV/LoLimit
DCS | NG3A3MV02.DT06 | Double | GSP3 | Variables/3304TIRC043.SV/MV/EntryHiLimit
DCS | NG3A3MV02.NX06 | Double | GSP3 | Variables/3304TIRC043.SV/MV/EntryLoLimit
DCS | NG3A3MV02.NX02 | Double | GSP3 | Variables/3304TIRC043.SV/MV/MaxMoveSizeUp
DCS | NG3A3MV02.NX02 | Double | GSP3 | Variables/3304TIRC043.SV/MV/MaxMoveSizeDown
DCS | NG3A3MV03.DT01 | Integer | GSP3 | Variables/3304FIQC060.SV/MV/RemoteLocalStatus
GSP3 | Variables/3304FIQC060.SV/MV/Output | Double | DCS | 3304FIQC060.RSV
DCS | NG3A3MV03.NX04 | Boolean | GSP3 | Variables/3304FIQC060.SV/MV/IsFeedForwardEnabled
DCS | NG3A3MV03.DT11 | Double | GSP3 | Variables/3304FIQC060.SV/MV/HiLimit
DCS | NG3A3MV03.NX11 | Double | GSP3 | Variables/3304FIQC060.SV/MV/LoLimit
DCS | NG3A3MV03.DT06 | Double | GSP3 | Variables/3304FIQC060.SV/MV/EntryHiLimit
DCS | NG3A3MV03.NX06 | Double | GSP3 | Variables/3304FIQC060.SV/MV/EntryLoLimit
DCS | NG3A3MV03.NX02 | Double | GSP3 | Variables/3304FIQC060.SV/MV/MaxMoveSizeUp
DCS | NG3A3MV03.NX02 | Double | GSP3 | Variables/3304FIQC060.SV/MV/MaxMoveSizeDown
DCS | NG3A2MV05.DT01 | Integer | GSP3 | Variables/3304TIC006A.SV/MV/RemoteLocalStatus
GSP3 | Variables/3304TIC006A.SV/MV/Output | Double | DCS | 3304TIC006A.RSV
DCS | NG3A2MV05.NX04 | Boolean | GSP3 | Variables/3304TIC006A.SV/MV/IsFeedForwardEnabled
DCS | NG3A2MV05.DT11 | Double | GSP3 | Variables/3304TIC006A.SV/MV/HiLimit
DCS | NG3A2MV05.NX11 | Double | GSP3 | Variables/3304TIC006A.SV/MV/LoLimit
DCS | NG3A2MV05.DT06 | Double | GSP3 | Variables/3304TIC006A.SV/MV/EntryHiLimit
DCS | NG3A2MV05.NX06 | Double | GSP3 | Variables/3304TIC006A.SV/MV/EntryLoLimit
DCS | NG3A2MV05.NX02 | Double | GSP3 | Variables/3304TIC006A.SV/MV/MaxMoveSizeUp
DCS | NG3A2MV05.NX02 | Double | GSP3 | Variables/3304TIC006A.SV/MV/MaxMoveSizeDown
DCS | 3300QT-4CH4.PV | Double | Application | Variables/3300QT-4CH4.PV/MeasuredValueRaw
DCS | 3303TI031A.PV | Double | Application | Variables/3303TI031A.PV/MeasuredValueRaw
DCS | 3303TICA035.PV | Double | Application | Variables/3303TICA035.PV/MeasuredValueRaw
DCS | 3303LICA047.MV | Double | Application | Variables/3303LICA047.MV/MeasuredValueRaw
DCS | 3306QI045D.PV | Double | Application | Variables/3306QI045D.PV/MeasuredValueRaw
DCS | 3303TDI035.PV | Double | Application | Variables/3303TDI035.PV/MeasuredValueRaw
DCS | 3303FICA036.SV | Double | Application | Variables/3303FICA036.SV/MeasuredValueRaw
DCS | 3300QT-4C3H8.PV | Double | Application | Variables/3300QT-4C3H8.PV/MeasuredValueRaw
DCS | 3300QT-5AC2H6.PV | Double | Application | Variables/3300QT-5AC2H6.PV/MeasuredValueRaw
DCS | 3304TI006A.PV | Double | Application | Variables/3304TI006A.PV/MeasuredValueRaw
DCS | 3304TDIA003.PV | Double | Application | Variables/3304TDIA003.PV/MeasuredValueRaw
DCS | 3304TIRCA008.PV | Double | Application | Variables/3304TIRCA008.PV/MeasuredValueRaw
DCS | 3304FI027.PV | Double | Application | Variables/3304FI027.PV/MeasuredValueRaw
DCS | 3304FICA001.SV | Double | Application | Variables/3304FICA001.SV/MeasuredValueRaw
DCS | 3304TDIA006.PV | Double | Application | Variables/3304TDIA006.PV/MeasuredValueRaw
DCS | 3304QI030A.PV | Double | Application | Variables/3304QI030A.PV/MeasuredValueRaw
DCS | GSP3RQEDB.NX03 | Double | Application | Variables/GSP3RQEDB.NX03/MeasuredValueRaw
DCS | GSP3RQEDB.NX02 | Double | Application | Variables/GSP3RQEDB.NX02/MeasuredValueRaw
DCS | 3300QT-5BC3H8.PV | Double | Application | Variables/3300QT-5BC3H8.PV/MeasuredValueRaw
DCS | 3300GCIU.PV | Double | Application | Variables/3300GCIU.PV/MeasuredValueRaw
DCS | 3304TI034A.PV | Double | Application | Variables/3304TI034A.PV/MeasuredValueRaw
DCS | 3304TIRC043.PV | Double | Application | Variables/3304TIRC043.PV/MeasuredValueRaw
DCS | 3304PDIA040.PV | Double | Application | Variables/3304PDIA040.PV/MeasuredValueRaw
DCS | 3304TIR047.PV | Double | Application | Variables/3304TIR047.PV/MeasuredValueRaw
DCS | 3304FICA039.SV | Double | Application | Variables/3304FICA039.SV/MeasuredValueRaw
DCS | 3304TICA036.PV | Double | Application | Variables/3304TICA036.PV/MeasuredValueRaw
DCS | 3304TIC006A.PV | Double | Application | Variables/3304TIC006A.PV/MeasuredValueRaw
DCS | NG3A1CV01.DT10 | Double | GSP3 | Variables/3300QT-4CH4.PV/CV/HiLimit
DCS | NG3A1CV01.DT11 | Double | GSP3 | Variables/3300QT-4CH4.PV/CV/EntryHiLimit
DCS | NG3A1CV01.NX10 | Double | GSP3 | Variables/3300QT-4CH4.PV/CV/LoLimit
DCS | NG3A1CV01.NX11 | Double | GSP3 | Variables/3300QT-4CH4.PV/CV/EntryLoLimit
DCS | NG3A1CV01.DT02 | Boolean | GSP3 | Variables/3300QT-4CH4.PV/CV/IsRemoved
DCS | NG3A1CV02.DT10 | Double | GSP3 | Variables/3303TI031A.PV/CV/HiLimit
DCS | NG3A1CV02.DT11 | Double | GSP3 | Variables/3303TI031A.PV/CV/EntryHiLimit
DCS | NG3A1CV02.NX10 | Double | GSP3 | Variables/3303TI031A.PV/CV/LoLimit
DCS | NG3A1CV02.NX11 | Double | GSP3 | Variables/3303TI031A.PV/CV/EntryLoLimit
DCS | NG3A1CV02.DT02 | Boolean | GSP3 | Variables/3303TI031A.PV/CV/IsRemoved
DCS | NG3A1CV03.DT10 | Double | GSP3 | Variables/3303TICA035.PV/CV/HiLimit
DCS | NG3A1CV03.DT11 | Double | GSP3 | Variables/3303TICA035.PV/CV/EntryHiLimit
DCS | NG3A1CV03.NX10 | Double | GSP3 | Variables/3303TICA035.PV/CV/LoLimit
DCS | NG3A1CV03.NX11 | Double | GSP3 | Variables/3303TICA035.PV/CV/EntryLoLimit
DCS | NG3A1CV03.DT02 | Boolean | GSP3 | Variables/3303TICA035.PV/CV/IsRemoved
DCS | NG3A1CV04.DT10 | Double | GSP3 | Variables/3303LICA047.MV/CV/HiLimit
DCS | NG3A1CV04.DT11 | Double | GSP3 | Variables/3303LICA047.MV/CV/EntryHiLimit
DCS | NG3A1CV04.NX10 | Double | GSP3 | Variables/3303LICA047.MV/CV/LoLimit
DCS | NG3A1CV04.NX11 | Double | GSP3 | Variables/3303LICA047.MV/CV/EntryLoLimit
DCS | NG3A1CV04.DT02 | Boolean | GSP3 | Variables/3303LICA047.MV/CV/IsRemoved
DCS | NG3A1CV05.DT10 | Double | GSP3 | Variables/3306QI045D.PV/CV/HiLimit
DCS | NG3A1CV05.DT11 | Double | GSP3 | Variables/3306QI045D.PV/CV/EntryHiLimit
DCS | NG3A1CV05.NX10 | Double | GSP3 | Variables/3306QI045D.PV/CV/LoLimit
DCS | NG3A1CV05.NX11 | Double | GSP3 | Variables/3306QI045D.PV/CV/EntryLoLimit
DCS | NG3A1CV05.DT02 | Boolean | GSP3 | Variables/3306QI045D.PV/CV/IsRemoved
DCS | NG3A1CV06.DT10 | Double | GSP3 | Variables/3303TDI035.PV/CV/HiLimit
DCS | NG3A1CV06.DT11 | Double | GSP3 | Variables/3303TDI035.PV/CV/EntryHiLimit
DCS | NG3A1CV06.NX10 | Double | GSP3 | Variables/3303TDI035.PV/CV/LoLimit
DCS | NG3A1CV06.NX11 | Double | GSP3 | Variables/3303TDI035.PV/CV/EntryLoLimit
DCS | NG3A1CV06.DT02 | Boolean | GSP3 | Variables/3303TDI035.PV/CV/IsRemoved
DCS | NG3A1CV07.DT10 | Double | GSP3 | Variables/3303FICA036.SV/CV/HiLimit
DCS | NG3A1CV07.DT11 | Double | GSP3 | Variables/3303FICA036.SV/CV/EntryHiLimit
DCS | NG3A1CV07.NX10 | Double | GSP3 | Variables/3303FICA036.SV/CV/LoLimit
DCS | NG3A1CV07.NX11 | Double | GSP3 | Variables/3303FICA036.SV/CV/EntryLoLimit
GSP3 | VariableSets/DEP/ModeActual | Integer | DCS | NDEPSCSTS.SW
DCS | NG3A1CV07.DT02 | Boolean | GSP3 | Variables/MINFICA036/CV/IsRemoved
DCS | NG3A2CV01.DT10 | Double | GSP3 | Variables/3300QT-4C3H8.PV/CV/HiLimit
DCS | NG3A2CV01.DT11 | Double | GSP3 | Variables/3300QT-4C3H8.PV/CV/EntryHiLimit
DCS | NG3A2CV01.NX10 | Double | GSP3 | Variables/3300QT-4C3H8.PV/CV/LoLimit
DCS | NG3A2CV01.NX11 | Double | GSP3 | Variables/3300QT-4C3H8.PV/CV/EntryLoLimit
DCS | NG3A2CV01.DT02 | Boolean | GSP3 | Variables/3300QT-4C3H8.PV/CV/IsRemoved
DCS | NG3A2CV02.DT10 | Double | GSP3 | Variables/3300QT-5AC2H6.PV/CV/HiLimit
DCS | NG3A2CV02.DT11 | Double | GSP3 | Variables/3300QT-5AC2H6.PV/CV/EntryHiLimit
DCS | NG3A2CV02.NX10 | Double | GSP3 | Variables/3300QT-5AC2H6.PV/CV/LoLimit
DCS | NG3A2CV02.NX11 | Double | GSP3 | Variables/3300QT-5AC2H6.PV/CV/EntryLoLimit
DCS | NG3A2CV02.DT02 | Boolean | GSP3 | Variables/3300QT-5AC2H6.PV/CV/IsRemoved
DCS | NG3A2CV03.DT10 | Double | GSP3 | Variables/3304TI006A.PV/CV/HiLimit
DCS | NG3A2CV03.DT11 | Double | GSP3 | Variables/3304TI006A.PV/CV/EntryHiLimit
DCS | NG3A2CV03.NX10 | Double | GSP3 | Variables/3304TI006A.PV/CV/LoLimit
DCS | NG3A2CV03.NX11 | Double | GSP3 | Variables/3304TI006A.PV/CV/EntryLoLimit
DCS | NG3A2CV03.DT02 | Boolean | GSP3 | Variables/3304TI006A.PV/CV/IsRemoved
DCS | NG3A2CV04.DT10 | Double | GSP3 | Variables/3304TDIA003.PV/CV/HiLimit
DCS | NG3A2CV04.DT11 | Double | GSP3 | Variables/3304TDIA003.PV/CV/EntryHiLimit
DCS | NG3A2CV04.NX10 | Double | GSP3 | Variables/3304TDIA003.PV/CV/LoLimit
DCS | NG3A2CV04.NX11 | Double | GSP3 | Variables/3304TDIA003.PV/CV/EntryLoLimit
DCS | NG3A2CV04.DT02 | Boolean | GSP3 | Variables/3304TDIA003.PV/CV/IsRemoved
DCS | NG3A2CV05.DT10 | Double | GSP3 | Variables/3304TIRCA008.PV/CV/HiLimit
DCS | NG3A2CV05.DT11 | Double | GSP3 | Variables/3304TIRCA008.PV/CV/EntryHiLimit
DCS | NG3A2CV05.NX10 | Double | GSP3 | Variables/3304TIRCA008.PV/CV/LoLimit
DCS | NG3A2CV05.NX11 | Double | GSP3 | Variables/3304TIRCA008.PV/CV/EntryLoLimit
DCS | NG3A2CV05.DT02 | Boolean | GSP3 | Variables/3304TIRCA008.PV/CV/IsRemoved
DCS | NG3A2CV06.DT10 | Double | GSP3 | Variables/3304FI027.PV/CV/HiLimit
DCS | NG3A2CV06.DT11 | Double | GSP3 | Variables/3304FI027.PV/CV/EntryHiLimit
DCS | NG3A2CV06.NX10 | Double | GSP3 | Variables/3304FI027.PV/CV/LoLimit
DCS | NG3A2CV06.NX11 | Double | GSP3 | Variables/3304FI027.PV/CV/EntryLoLimit
DCS | NG3A2CV06.DT02 | Boolean | GSP3 | Variables/3304FI027.PV/CV/IsRemoved
DCS | NG3A2CV07.DT10 | Double | GSP3 | Variables/3304FICA001.SV/CV/HiLimit
DCS | NG3A2CV07.DT11 | Double | GSP3 | Variables/3304FICA001.SV/CV/EntryHiLimit
DCS | NG3A2CV07.NX10 | Double | GSP3 | Variables/3304FICA001.SV/CV/LoLimit
DCS | NG3A2CV07.NX11 | Double | GSP3 | Variables/3304FICA001.SV/CV/EntryLoLimit
DCS | NC2SCRQ.SW | Integer | GSP3 | VariableSets/C2/ModeRequest
DCS | NG3A2CV08.DT10 | Double | GSP3 | Variables/3304TDIA006.PV/CV/HiLimit
DCS | NG3A2CV08.DT11 | Double | GSP3 | Variables/3304TDIA006.PV/CV/EntryHiLimit
DCS | NG3A2CV08.NX10 | Double | GSP3 | Variables/3304TDIA006.PV/CV/LoLimit
DCS | NG3A2CV08.NX11 | Double | GSP3 | Variables/3304TDIA006.PV/CV/EntryLoLimit
DCS | NG3A2CV08.DT02 | Boolean | GSP3 | Variables/3304TDIA006.PV/CV/IsRemoved
DCS | NG3A2CV09.DT10 | Double | GSP3 | Variables/3304QI030A.PV/CV/HiLimit
DCS | NG3A2CV09.DT11 | Double | GSP3 | Variables/3304QI030A.PV/CV/EntryHiLimit
DCS | NG3A2CV09.NX10 | Double | GSP3 | Variables/3304QI030A.PV/CV/LoLimit
DCS | NG3A2CV09.NX11 | Double | GSP3 | Variables/3304QI030A.PV/CV/EntryLoLimit
DCS | NG3A2CV09.DT02 | Boolean | GSP3 | Variables/3304QI030A.PV/CV/IsRemoved
DCS | NG3MAXC2.PV | Boolean | GSP3 | Variables/MAXC3INC2/CV/IsRemoved
DCS | NG3MAXC2.PV | Boolean | GSP3 | Variables/MINC2INC3/CV/IsRemoved
DCS | NG3MAXC3.PV | Boolean | GSP3 | Variables/MINC3INC2/CV/IsRemoved
DCS | NG3MAXC3.PV | Boolean | GSP3 | Variables/MAXC2INC3/CV/IsRemoved
DCS | NG3A2CV07.DT02 | Boolean | GSP3 | Variables/MINFICA001/CV/IsRemoved
DCS | NG3A3CV01.DT10 | Double | GSP3 | Variables/GSP3RQEDB.NX03/CV/HiLimit
DCS | NG3A3CV01.DT11 | Double | GSP3 | Variables/GSP3RQEDB.NX03/CV/EntryHiLimit
DCS | NG3A3CV01.NX10 | Double | GSP3 | Variables/GSP3RQEDB.NX03/CV/LoLimit
DCS | NG3A3CV01.NX11 | Double | GSP3 | Variables/GSP3RQEDB.NX03/CV/EntryLoLimit
DCS | NG3A3CV01.DT02 | Boolean | GSP3 | Variables/GSP3RQEDB.NX03/CV/IsRemoved
DCS | NG3A3CV02.DT10 | Double | GSP3 | Variables/GSP3RQEDB.NX02/CV/HiLimit
DCS | NG3A3CV02.DT11 | Double | GSP3 | Variables/GSP3RQEDB.NX02/CV/EntryHiLimit
DCS | NG3A3CV02.NX10 | Double | GSP3 | Variables/GSP3RQEDB.NX02/CV/LoLimit
DCS | NG3A3CV02.NX11 | Double | GSP3 | Variables/GSP3RQEDB.NX02/CV/EntryLoLimit
DCS | NG3A3CV02.DT02 | Boolean | GSP3 | Variables/GSP3RQEDB.NX02/CV/IsRemoved
DCS | NG3A3CV03.DT10 | Double | GSP3 | Variables/3300QT-5BC3H8.PV/CV/HiLimit
DCS | NG3A3CV03.DT11 | Double | GSP3 | Variables/3300QT-5BC3H8.PV/CV/EntryHiLimit
DCS | NG3A3CV03.NX10 | Double | GSP3 | Variables/3300QT-5BC3H8.PV/CV/LoLimit
DCS | NG3A3CV03.NX11 | Double | GSP3 | Variables/3300QT-5BC3H8.PV/CV/EntryLoLimit
DCS | NG3A3CV03.DT02 | Boolean | GSP3 | Variables/3300QT-5BC3H8.PV/CV/IsRemoved
DCS | NG3A3CV04.DT10 | Double | GSP3 | Variables/3300GCIU.PV/CV/HiLimit
DCS | NG3A3CV04.DT11 | Double | GSP3 | Variables/3300GCIU.PV/CV/EntryHiLimit
DCS | NG3A3CV04.NX10 | Double | GSP3 | Variables/3300GCIU.PV/CV/LoLimit
DCS | NG3A3CV04.NX11 | Double | GSP3 | Variables/3300GCIU.PV/CV/EntryLoLimit
DCS | NG3A3CV04.DT02 | Boolean | GSP3 | Variables/3300GCIU.PV/CV/IsRemoved
DCS | NG3A3CV05.DT10 | Double | GSP3 | Variables/3304TI034A.PV/CV/HiLimit
DCS | NG3A3CV05.DT11 | Double | GSP3 | Variables/3304TI034A.PV/CV/EntryHiLimit
DCS | NG3A3CV05.NX10 | Double | GSP3 | Variables/3304TI034A.PV/CV/LoLimit
DCS | NG3A3CV05.NX11 | Double | GSP3 | Variables/3304TI034A.PV/CV/EntryLoLimit
DCS | NG3A3CV05.DT02 | Boolean | GSP3 | Variables/3304TI034A.PV/CV/IsRemoved
DCS | NG3A3CV06.DT10 | Double | GSP3 | Variables/3304TIRC043.PV/CV/HiLimit
DCS | NG3A3CV06.DT11 | Double | GSP3 | Variables/3304TIRC043.PV/CV/EntryHiLimit
DCS | NG3A3CV06.NX10 | Double | GSP3 | Variables/3304TIRC043.PV/CV/LoLimit
DCS | NG3A3CV06.NX11 | Double | GSP3 | Variables/3304TIRC043.PV/CV/EntryLoLimit
DCS | NG3A3CV06.DT02 | Boolean | GSP3 | Variables/3304TIRC043.PV/CV/IsRemoved
DCS | NG3A3CV07.DT10 | Double | GSP3 | Variables/3304PDIA040.PV/CV/HiLimit
DCS | NG3A3CV07.DT11 | Double | GSP3 | Variables/3304PDIA040.PV/CV/EntryHiLimit
DCS | NG3A3CV07.NX10 | Double | GSP3 | Variables/3304PDIA040.PV/CV/LoLimit
DCS | NG3A3CV07.NX11 | Double | GSP3 | Variables/3304PDIA040.PV/CV/EntryLoLimit
DCS | NG3A3CV07.DT02 | Boolean | GSP3 | Variables/3304PDIA040.PV/CV/IsRemoved
DCS | NG3A3CV08.DT10 | Double | GSP3 | Variables/3304TIR047.PV/CV/HiLimit
DCS | NG3A3CV08.DT11 | Double | GSP3 | Variables/3304TIR047.PV/CV/EntryHiLimit
DCS | NG3A3CV08.NX10 | Double | GSP3 | Variables/3304TIR047.PV/CV/LoLimit
DCS | NG3A3CV08.NX11 | Double | GSP3 | Variables/3304TIR047.PV/CV/EntryLoLimit
DCS | NG3A3CV08.DT02 | Boolean | GSP3 | Variables/3304TIR047.PV/CV/IsRemoved
DCS | NG3A3CV09.DT10 | Double | GSP3 | Variables/3304FICA039.SV/CV/HiLimit
DCS | NG3A3CV09.DT11 | Double | GSP3 | Variables/3304FICA039.SV/CV/EntryHiLimit
DCS | NG3A3CV09.NX10 | Double | GSP3 | Variables/3304FICA039.SV/CV/LoLimit
DCS | NG3A3CV09.NX11 | Double | GSP3 | Variables/3304FICA039.SV/CV/EntryLoLimit
GSP3 | Variables/3304TDIA003.PV/CV/ModeActual | Integer | DCS | NG3A2CV04.NX01
DCS | NG3MAXP.PV | Boolean | GSP3 | Variables/MAXC4INC3/CV/IsRemoved
DCS | NG3A3CV02.DT02 | Boolean | GSP3 | Variables/MAXC5INLPG/CV/IsRemoved
DCS | NG3MAXP.PV | Boolean | GSP3 | Variables/MINC3INLPG/CV/IsRemoved
DCS | NG3MAXLPG.PV | Boolean | GSP3 | Variables/MINC4INC3/CV/IsRemoved
DCS | NG3MAXLPG.PV | Boolean | GSP3 | Variables/MAXC3INLPG/CV/IsRemoved
DCS | NG3A3MV03.DT16 | Double | GSP3 | Variables/MAXLPG/CV/LoLimit
DCS | NG3MAXLPG.PV | Boolean | GSP3 | Variables/MAXLPG/CV/IsRemoved
DCS | NG3A3MV03.DT16 | Double | GSP3 | Variables/MINLPG/CV/HiLimit
DCS | NG3MAXP.PV | Boolean | GSP3 | Variables/MINLPG/CV/IsRemoved
DCS | NG3A3CV09.DT02 | Boolean | GSP3 | Variables/MINFICA039/CV/IsRemoved
GSP3 | Variables/3300QT-4C3H8.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV01.NX03
GSP3 | Variables/3300QT-4CH4.PV/CV/ModeActual | Integer | DCS | NG3A1CV01.NX01
GSP3 | Variables/3300GCIU.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV04.NX03
GSP3 | Variables/3304QI030A.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV09.NX03
GSP3 | Variables/3304TIRCA008.PV/CV/SteadyStateValue | Double | DCS | NG3A2CV05.DT14
GSP3 | Variables/3300QT-4C3H8.PV/CV/ModeActual | Integer | DCS | NG3A2CV01.NX01
GSP3 | Variables/3306QI045D.PV/CV/SteadyStateValue | Double | DCS | NG3A1CV05.DT14
GSP3 | Variables/3304TIR047.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV08.NX03
GSP3 | Variables/3304PDIA040.PV/CV/ModeActual | Integer | DCS | NG3A3CV07.NX01
GSP3 | Variables/3304TDIA006.PV/CV/SteadyStateValue | Double | DCS | NG3A2CV08.DT14
GSP3 | Variables/3304TI034A.PV/CV/ModeActual | Integer | DCS | NG3A3CV05.NX01
GSP3 | Variables/3304TIRCA008.PV/CV/ModeActual | Integer | DCS | NG3A2CV05.NX01
GSP3 | Variables/3304TIRC043.PV/CV/SteadyStateValue | Double | DCS | NG3A3CV06.DT14
GSP3 | Variables/3303TI031A.PV/CV/SteadyStateValue | Double | DCS | NG3A1CV02.DT14
GSP3 | Variables/3304PDIA040.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV07.NX03
GSP3 | Variables/3304FICA001.SV/CV/ModeActual | Integer | DCS | NG3A2CV07.NX01
GSP3 | Variables/3304TI006A.PV/CV/ModeActual | Integer | DCS | NG3A2CV03.NX01
GSP3 | Variables/3304PDIA040.PV/CV/SteadyStateValue | Double | DCS | NG3A3CV07.DT14
GSP3 | Variables/3303FICA036.SV/CV/CurrentLimitStatus | Integer | DCS | NG3A1CV07.NX03
GSP3 | Variables/3304TIRCA008.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV05.NX03
GSP3 | Variables/3303TICA035.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A1CV03.NX03
GSP3 | Variables/3300QT-5AC2H6.PV/CV/SteadyStateValue | Double | DCS | NG3A2CV02.DT14
GSP3 | Variables/3304TIRC043.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV06.NX03
GSP3 | Variables/3303TDI035.PV/CV/ModeActual | Integer | DCS | NG3A1CV06.NX01
GSP3 | Variables/GSP3RQEDB.NX02/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV02.NX03
GSP3 | Variables/3300QT-5BC3H8.PV/CV/ModeActual | Integer | DCS | NG3A3CV03.NX01
GSP3 | Variables/3304FICA001.SV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV07.NX03
GSP3 | Variables/3304QI030A.PV/CV/SteadyStateValue | Double | DCS | NG3A2CV09.DT14
GSP3 | Variables/3303LICA047.MV/CV/SteadyStateValue | Double | DCS | NG3A1CV04.DT14
GSP3 | Variables/3306QI045D.PV/CV/ModeActual | Integer | DCS | NG3A1CV05.NX01
GSP3 | Variables/3304FI027.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV06.NX03
GSP3 | Variables/3300QT-4CH4.PV/CV/SteadyStateValue | Double | DCS | NG3A1CV01.DT14
GSP3 | Variables/3303TI031A.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A1CV02.NX03
GSP3 | Variables/3304FICA039.SV/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV09.NX03
GSP3 | Variables/GSP3RQEDB.NX02/CV/ModeActual | Integer | DCS | NG3A3CV02.NX01
GSP3 | Variables/3300QT-5AC2H6.PV/CV/ModeActual | Integer | DCS | NG3A2CV02.NX01
GSP3 | Variables/3303LICA047.MV/CV/ModeActual | Integer | DCS | NG3A1CV04.NX01
GSP3 | Variables/3304FI027.PV/CV/SteadyStateValue | Double | DCS | NG3A2CV06.DT14
GSP3 | Variables/3300QT-4C3H8.PV/CV/SteadyStateValue | Double | DCS | NG3A2CV01.DT14
GSP3 | Variables/3304TDIA006.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV08.NX03
GSP3 | Variables/3303TICA035.PV/CV/ModeActual | Integer | DCS | NG3A1CV03.NX01
GSP3 | Variables/3304TI006A.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV03.NX03
GSP3 | Variables/GSP3RQEDB.NX03/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV01.NX03
GSP3 | Variables/3303LICA047.MV/CV/CurrentLimitStatus | Integer | DCS | NG3A1CV04.NX03
GSP3 | Variables/3304TI034A.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV05.NX03
GSP3 | Variables/3306QI045D.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A1CV05.NX03
GSP3 | Variables/3304TIRC043.PV/CV/ModeActual | Integer | DCS | NG3A3CV06.NX01
GSP3 | Variables/3304FI027.PV/CV/ModeActual | Integer | DCS | NG3A2CV06.NX01
GSP3 | Variables/3300QT-4CH4.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A1CV01.NX03
GSP3 | Variables/3300QT-5BC3H8.PV/CV/SteadyStateValue | Double | DCS | NG3A3CV03.DT14
GSP3 | Variables/3300QT-5AC2H6.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV02.NX03
GSP3 | Variables/GSP3RQEDB.NX03/CV/ModeActual | Integer | DCS | NG3A3CV01.NX01
GSP3 | Variables/3300GCIU.PV/CV/ModeActual | Integer | DCS | NG3A3CV04.NX01
GSP3 | Variables/3303FICA036.SV/CV/SteadyStateValue | Double | DCS | NG3A1CV07.DT14
GSP3 | Variables/3304FICA001.SV/CV/SteadyStateValue | Double | DCS | NG3A2CV07.DT14
GSP3 | Variables/3300QT-5BC3H8.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A3CV03.NX03
GSP3 | Variables/3304FICA039.SV/CV/SteadyStateValue | Double | DCS | NG3A3CV09.DT14
GSP3 | Variables/GSP3RQEDB.NX02/CV/SteadyStateValue | Double | DCS | NG3A3CV02.DT14
GSP3 | Variables/GSP3RQEDB.NX03/CV/SteadyStateValue | Double | DCS | NG3A3CV01.DT14
GSP3 | Variables/3304QI030A.PV/CV/ModeActual | Integer | DCS | NG3A2CV09.NX01
GSP3 | Variables/3304TI034A.PV/CV/SteadyStateValue | Double | DCS | NG3A3CV05.DT14
GSP3 | Variables/3303TDI035.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A1CV06.NX03
GSP3 | Variables/3300GCIU.PV/CV/SteadyStateValue | Double | DCS | NG3A3CV04.DT14
GSP3 | Variables/3304TDIA003.PV/CV/SteadyStateValue | Double | DCS | NG3A2CV04.DT14
GSP3 | Variables/3304TDIA003.PV/CV/CurrentLimitStatus | Integer | DCS | NG3A2CV04.NX03
GSP3 | Variables/3303TI031A.PV/CV/ModeActual | Integer | DCS | NG3A1CV02.NX01
GSP3 | Variables/3304FICA039.SV/CV/ModeActual | Integer | DCS | NG3A3CV09.NX01
GSP3 | Variables/3303TDI035.PV/CV/SteadyStateValue | Double | DCS | NG3A1CV06.DT14
GSP3 | Variables/3304TDIA006.PV/CV/ModeActual | Integer | DCS | NG3A2CV08.NX01
GSP3 | Variables/3304TIR047.PV/CV/ModeActual | Integer | DCS | NG3A3CV08.NX01
GSP3 | Variables/3304TIR047.PV/CV/SteadyStateValue | Double | DCS | NG3A3CV08.DT14
GSP3 | Variables/3303FICA036.SV/CV/ModeActual | Integer | DCS | NG3A1CV07.NX01
GSP3 | Variables/3304TI006A.PV/CV/SteadyStateValue | Double | DCS | NG3A2CV03.DT14
GSP3 | Variables/3303TICA035.PV/CV/SteadyStateValue | Double | DCS | NG3A1CV03.DT14
GSP3 | Variables/3300QT-4C3H8.PV/POV/PredictedValue | Double | DCS | GSP3RQEDB.DT04
GSP3 | Variables/3300QT-4CH4.PV/POV/PredictedValue | Double | DCS | GSP3RQEDB.DT01
GSP3 | Variables/3300QT-5AC2H6.PV/POV/PredictedValue | Double | DCS | GSP3RQEDB.DT02
GSP3 | Variables/3300QT-5BC3H8.PV/POV/PredictedValue | Double | DCS | GSP3RQEDB.NX07
GSP3 | Variables/3304QI030A.PV/POV/PredictedValue | Double | DCS | GSP3RQEDB.NX08
GSP3 | Variables/3306QI045D.PV/POV/PredictedValue | Double | DCS | GSP3RQEDB.DT03
GSP3 | Variables/GSP3RQEDB.NX02/POV/PredictedValue | Double | DCS | GSP3RQEDB.DT06
GSP3 | Variables/GSP3RQEDB.NX03/POV/PredictedValue | Double | DCS | GSP3RQEDB.DT05
GSP3 | Variables/3300GCIU.PV/POV/PredictedValue | Double | DCS | GSP3RQEDB.DT07